## Guidance
Public Sector Decarbonisation Scheme: Annual Carbon Report |  | Annual Carbon Report
The following section is designed to give some clear guidance on how to fill out the Annual Carbon Report for the Public Sector Decarbonisation Scheme (PSDS). Any questions regarding the below please contact deliverysupport@salixfinance.co.uk Please Enable Editing and Automatically Calculate Formulas in order for this tool to fully function. This is a standard requirement when downloading excel files. The purpose of the Annual Carbon Report is for Grant Recipient to measure and verify the energy and carbon saving achieved through the measures implemented on site in scope with PSDS project. The energy consumption data included in the report template must be obtained using actual energy consumption figure. These could be collected from fiscal meters, submeters and energy bills. Estimated data are not allowed for the purpose of this report. Grant recipient that have multi buildings to report in the Annual Carbon report will need to present the data as aggregated form divided by fuel type. In order to simplify the annual carbon report process, energy and carbon saving are related to the application as a whole rather than on measure by measure basis listed in the latest application form submitted to Salix. Organisation must use the tables in the report tab, for each of the three years period of monitoring. The relevant data are to be filled in the following fields/column: - Organisation Name: name of the Grant Recipient. - Submission ID: Code ID linked to Grant Recipient Application (such as 19001). - Final Commissioning Date: Date when the project was commissioned and carbon saving started generating. - Date baseline energy reading was taken: reference date of the energy consumption baseline included in the application. This can be referred to only the year of reference such as 2019. For Year 1 to 3, the date has to be specified as full date format. - How has the energy data been determined: Select the more appropriate option that describe the source of energy data information (such as gas meter reading). If the option 'other' is selected then further details are required and detailed in column 'comments'. - Annual Energy Consumption baseline in the PSDS application (kWh): Energy consumption data baseline used in the application form that refers to fuel consumption prior measures implementation. - Actual 1st (2nd and 3rd) Year energy consumption (kWh): Energy consumption data that is after 1st, 2nd and 3rd years from the final project completion date. The template will calculate automatically the difference between the energy data baseline and the energy consumption in Year 1, 2 and 3. The calculation will show the energy saving achieved in year 1, year 2 and year 3 from completion of the projects. The carbon saving will be also calculated automatically based on carbon factor associated to fuel type. The carbon factor are not visible in the template. - Heat Network - bespoke carbon factor: For heat network projects, the carbon factor depends from technical specification of the energy generation system part of the energy centre. For this reason, a bespoke carbon factor must be filled in this filed. - Comments 1st Year: Comments are on the energy data reported in column 'Actual 1st (2nd and 3rd) Year energy consumption (kWh)'. These have to describe the energy saving achieved and their deviation from the original figure of energy saving forecasted provided in the latest version of the application form. Deviations could be due to external conditions such as different climate condition compared to baseline year (such as a colder winter). In this instance, comments on degree day analysis and its regression analysis can be included. Other conditions could be related to the different usage of the building or its facilities or building occupancy changes (such as buildings that have been partially used during Covid).

## Carbon Report
Annual Carbon Report
Headers | Data
Grant Recipient
Submission ID
Final Commissioning Date
Date baseline energy reading was taken | Date 1st year energy reading was taken | Date 2nd year energy reading was taken | Date 3rd year energy reading was taken | Column1 | Column2 | Heat Network - bespoke carbon factor
Year 1
Fuel | How has the energy savings data been determined | Annual energy consumption baseline in the PSDS application (kWh) | Actual 1st year energy consumption (kWh) | Actual 1st year energy savings (kWh) | Carbon factor kg/kWh 2022 - average grid factors (Greenbook) | Actual 1st Year carbon savings (tCO2e) | Comments 1st Year
Electricity |  |  |  |  | 0.10511
Gas |  |  |  |  | 0.18387
Gas oil |  |  |  |  | 0.25672
Fuel oil |  |  |  |  | 0.26775
Burning oil |  |  |  |  | 0.24666
Coal |  |  |  |  | 0.3204
LPG |  |  |  |  | 0.21448
Wood pellets |  |  |  |  | 0.03744
Wood chips |  |  |  |  | 0.00792
Biogas |  |  |  |  | 0.02405
Heat Network |  |  |  |  | 0
Year 2
Fuel | How has the energy savings data been determined | Annual Energy Consumption baseline in the PSDS application (kWh) | Actual 2nd Year energy consumption (kWh) | Actual 2nd Year energy savings (kWh) | Carbon factor kg/kWh 2023 - Average grid factors (Greenbook) | Actual 2nd Year carbon savings (tCO2e) | Comments 2nd Year
Electricity |  |  |  |  | 0.10987
Gas |  |  |  |  | 0.18387
Gas oil |  |  |  |  | 0.25672
Fuel oil |  |  |  |  | 0.26775
Burning oil |  |  |  |  | 0.24666
Coal |  |  |  |  | 0.3204
LPG |  |  |  |  | 0.21448
Wood pellets |  |  |  |  | 0.03744
Wood chips |  |  |  |  | 0.00792
Biogas |  |  |  |  | 0.02405
Heat Network |  |  |  |  | 0
Year 3
Fuel | How has the energy savings data been determined | Annual Energy Consumption baseline in the PSDS application (kWh) | Actual 3rd Year energy consumption (kWh) | Actual 3rd Year energy savings (kWh) | Carbon factor kg/kWh 2024 - Average grid factors (Greenbook) | Actual 3rd Year carbon savings (tCO2e) | Comments 3rd Year
Electricity |  |  |  |  | 0.10239
Gas |  |  |  |  | 0.18387
Gas oil |  |  |  |  | 0.25672
Fuel oil |  |  |  |  | 0.26775
Burning oil |  |  |  |  | 0.24666
Coal |  |  |  |  | 0.3204
LPG |  |  |  |  | 0.21448
Wood pellets |  |  |  |  | 0.03744
Wood chips |  |  |  |  | 0.00792
Biogas |  |  |  |  | 0.02405
Heat Network |  |  |  |  | 0
Person responsible for the annual carbon report completion:
Name
Title
Organisation name
Date

## Revision history
Revision History
Date | Version | Change | By
2022-06-08 | 0.1 | Creation of form | BL
2022-11-01 | 1.1 | Rename the form as Carbon Report | DN
2023-06-20 | 1.1 | Addition of fields related to who submit the form and date of completion | DN