## Guidance Notes
Wales Funding Programme
Guidance Notes
This application form is for public sector bodies who wish to apply for the Wales Funding Programme. This tab explains how to complete the Application Form. Additional supporting information (such as internal business cases, project cost breakdown, Gantt chart or savings calculations) must be submitted as an attachment with the application for assessment.
For further guidance on completing the form, | the Salix Finance Knowledge Sharing website | contains best practice material, including example business cases and best-practice answers.
Business case applications undergo a preliminary review by Salix's Technical Services Team. The full business case review will be undertaken by Salix's external technical specialists - ATKINS. Before completing the programme details please complete the Pre-Application checks:
Pre-Application checks
Completing the application form
Part 1 - Programme details
The tab captures the main details of the application for the Wales Funding Programme. Please use this tab to describe the total programme of work that will take place as part of this application.
1. Public sector body details: name of the public sector body, details of the main project contact and the sponsoring director who has authorising sign off for the funding application. 2. Programme Summary: provide a description of the programme of works 3. Well-being of Future Generations Act: linking how the programme of works seeks to meet one or more of the Sustainable Development Principles
Part 2 and 3 - Project details
The project details table will automatically capture the information that is entered in each of the project tabs.
The project details tab(s) capture information on the individual energy efficiency measures that make up the total programme of works. This includes descriptions of the individual measures, estimated energy savings and calculations methodology. Please use one tab per energy efficiency project/measure.
If including CHP as part of the application, please contact Salix using: wales@salixfinance.co.uk
4. Energy and Greenhouse Gas Monitoring Plan: please provide details of the post project management and verification of savings plan 5. Project Governance: please provide details of the key individuals in the development and delivery of the programme 6. Previous Experience: please provide any relevant experience of delivering similar programmes/projects 7. Risk Assessment: please describe any identified risks to the programme, including mitigating actions 8. Programme Timescales: please describe the key project milestones and where possible, complete the timescales template table 9. Signatures: please provide confirmation of authorising official sign-off. This can be sent as an attachment email from the sponsoring director.
Sending your application
Completed application forms can be sent to wales@salixfinance.co.uk
For any queries on the application process, please contact Salix using the above email address, or calling 020 3102 6900
For questions regarding how to complete this form or what information to include in your application, please do not hesitate to contact a member of the Technical Services team:
020 3786 2559 ¦ technical@salixfinance.co.uk
Version 3.2 ¦ © Salix 2021
http://salixfinance.co.uk/loans/welsh-loans
http://salixfinance.co.uk/loans/welsh-loans

## Pre-application checks
Wales Funding Programme
Pre-Application Checks
1. I am authorised to make a loan or repayable grant application on behalf of the Public Sector Body
2. The Public Sector Body is authorised to take a Salix loan or an Invest to Save Repayable Grant
3. The Public Sector Body can make repayments through a Direct Debit
4. The project meets the criteria of “additional” set out in the application notes (i.e. the project has not already started, the full funding has not already been agreed from a different source, the project is above and beyond meeting required legislation/Building Regulations and the project is not being implemented for commercial gain other than the reduction in costs through increased energy efficiency)
5. The organisation will directly receive the benefit of the resultant energy savings
6. We have or will follow the agreed procurement route for this project in line with any internal procurement policy for our organisation or the relevant Local Authority (where applicable)
7. We agree to Salix sharing knowledge and information about our funded projects with our current and future clients
8. Would you like to receive email updates from us? We would like to keep in touch with you via email so that you are among the first to receive updates and event invitations from us. If you would like to hear from us via email, please “opt-in” by selecting "Yes" Declaration: •We have read the Salix Application Notes and agree acceptance of the content •The information supplied in our application is true and correct to the best of our knowledge •We consent to the details of our application being shared with the Welsh Government •We understand that if a project timescale, costs or scope change, we will notify Salix •We understand that we will keep Salix up to date with project progression and inform Salix of any delay to project delivery •We understand and accept that no payment will be made if the project is not completed within our agreed timescale from Salix's authorisation of the projects or if the project fails to comply with the Scheme's criteria •We understand and accept that payment of any project costs that alter beyond the scheme’s compliance criteria cannot be guaranteed to be funded by Salix •We confirm that prior to any funding being released, we will submit a completion certificate and complete a loan agreement with a direct debit mandate •We agree that, if the project is funded on an interim payment basis, we may be required to repay the loan early and if the project does not progress as expected •We agree to provide reasonable evidence of costs on receipt of both an interim and final payment and will provide this evidence within 30 days of receiving the remittance advice from Salix •We confirm that the project proposal outlined here has been agreed and authorised and if funding is awarded, it is ready to proceed
Sponsoring Director Signature:
Please sign, date and return this completed form to the address shown below: I confirm that the project proposal outlined here has been agreed and authorised and if funding is awarded, it is ready to proceed in 2020/21
Signature
Name
Job Title
Date
For questions regarding how to complete this form or what information to include in your application, please do not hesitate to contact a member of the Technical Services team:
020 3786 2559 ¦ technical@salixfinance.co.uk
Version 3.2 ¦ © Salix 2021
Yes
No

## Programme details
Wales Funding Programme - Part 1
Programme Title:
Public Sector Body:
Project Reference: |  | (Welsh Government use only) |  | Client Type:
Submission Date: |  |  |  | Applicant Type:
Project Manager: |  |  |  | Sponsoring Director:
Name |  |  |  | Name
Job title |  |  |  | Job title
Address line 1 |  |  |  | Address line 1
Address line 2 |  |  |  | Address line 2
City |  |  |  | City
Post code |  |  |  | Post code
Telephone |  |  |  | Telephone
Email |  |  |  | Email
1. Programme Summary
Please provide a summary of the project works.
• How has the project been identified? • Who has been involved in developing the project? • How will the project go towards addressing existing issues relating to energy and carbon use? • How has the project been identified as being an appropriate solution to reduce energy and carbon use?
2. Well-being of Future Generations Wales (2015) Act
• Please describe how this programme of works will maximise the organisation's contribution to one or more of the seven well-being goals in the act and how this programme is in accordance with the Sustainable Development Principles.
• Further information on the Act can be found here.
Wales Funding Programme - Part 2
Project details
3. Project Table
The following table will populate automatically based on the entries to the 'project' tabs below. For any additional energy conservation measures (ECMs), please use a corresponding tab to add additional projects.
| Name of project | Total project cost | Total Salix funding requested | Annual financial savings (£) | Annual carbon savings (CO2e) | Payback of measure (Salix Loan) | ltco2 | m2
ECM 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ECM 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ECM 3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ECM 4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ECM 5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ECM 6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ECM 7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ECM 8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ECM 9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ECM 10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Salix Loan Funding Requested: | 0
Percentage of total project cost
Total floor area impacted (m2): | 0
Programme Payback: | 0
Programme Cost of Lifetime Carbon Savings: | 0
Programme compliancy: | Non-Compliant
Programme Estimated Start Date
Programme Estimated Completion Date
Annual Repayment
Wales Funding Programme - Part 3
Programme delivery and post-project monitoring
4. Energy and Carbon Monitoring Plan Post-Completion
• Salix recommends that energy and carbon consumption be monitored prior to and following the completion of the project. • What are the arrangements for monitoring and managing the programme post-completion? • What plans are there for evaluation?
5. Project Governance
Please define the project team and their roles in the delivery of the project (e.g. consultants, contractors, senior manager etc.). • Please outline the organisation structure in terms of who has the authority to approve the project and any further approvals required as the project progresses through each stage. • Has a Project Execution Plan been drawn up to state exactly how the project will be managed? • For projects valued over £500,000, please attach a copy of your internal project plan.
6. Previous Experience
• Describe any previous experience that you may have with the proposed energy efficiency measure. • Please also outline the experience members of the project team have with managing projects of a similar scale, including that of any third-party support.
7. Project Risks and Mitigation
Describe any project risks and give details of measures designed to minimise or avoid them. This should cover: • Any project dependencies, such as other projects being completed on time or coordination around organisational issues (e.g. exam periods and heating season). • Risks to project delivery and details of the management structures in place to monitor. • Detail other outstanding issues that need to be resolved before the project can proceed (e.g. finalising plant sizes or communication with stakeholders). • The risks associated with the project failing to achieve the savings. • For applications valued over £500,000, please attach a copy of your internal risk register.
Description of Risk | Level of Risk | How will the risk be managed and/or mitigated?
High
Low
Medium
8. Timescales
Give details of the critical path for timetable delivery of the project including: • Dates for key delivery milestones. • What level of contingency for potential programme slippage has been built in to the delivery timeline. • Details of and significant lead-in times for the ordering and delivery of key project equipment, including details of discussions/agreements with suppliers/contractors.
9. Key Project Milestones
Please complete the table below or attach seperate project programme with key milestones and contingency included.
Steps taken / to be taken | Process | Start date | End date | Include no. of days Contingency | Is this Complete?
Project Approval | Estates/finance approval
Board/councillors approval
Tender | Project design time
Project out to tender
Contract awarded
Cool off period
PFI agreement (if applicable) | Sign Deed of Variation
Order | Order Placed
Delivery | Equipment Delivery
Project on site | Starting project installation
Project completion | Project complete onsite
Commissioning
Invoicing
Send completion certificate to Salix
Returning loan agreement to Salix
0
Wales Funding Programme - Part 4
Completed applications should be sent to: wales@salixfinance.co.uk
For questions regarding how to complete this form or what information to include in your application, please do not hesitate to contact a member of the Technical Services team:
020 3786 2559 ¦ technical@salixfinance.co.uk
Version 3.2 ¦ © Salix 2021

## ECM 1
Wales Funding Programme - Part 2
ECM 1 details
Name of Project:
Project Details
• Please provide a description of the project works • Include all possible resulting benefits from the project
Total Salix Loan Value
Project Type
Work Type | [9 empty] | #N/A | 1
Floor area (m2) impacted by measure
Site Life (In Years)
Fuel type | Annual Pre-project kWh | Annual Post-project kWh | Current Energy Cost (p/kWh) | Forecast Energy Cost (p/kWh) | Forecast % Change | Annual kWh saving | % kWh savings | Annual tCO2e savings | Annual Energy Cost savings |  |  | %kWh Overall | tCO2e lt
[6 empty] | 0 | 0% | 0 | 0 | 8 |  | 0% | 0
[6 empty] | 0 | 0% | 0 | 0 | 8
Project Lifetime (PF) | 0 |  | Details of Forecast Energy Cost • Describe how you have forecasted for future energy costs | [6 empty] | PF | #N/A
Predicted Annual Carbon Savings (tCO2e) | 0
Total annual financial savings (£) | 0
Payback period | 0
Lifetime Cost of Carbon | 0
Details of Project Energy Savings Calculations
Please explain how the programme costs, energy and Carbon(e) savings, and lifetime cost of Carbon(e) have been derived, detailing any assumptions.
Project cost breakdown
Main equipment capital costs (£)
Installation costs (£)
Project management costs (£)
Other project costs (£)
Total projects costs | 0
Other sources of funding
If other sources of funding are being accessed, please provide further details
Operating and maintenance costs (£)
Estimated Start Date
Estimated Completion Date
Details of Supporting Documentation
Evidence of costs included (Attached or embed quotations, tender, consultant's estimates etc.)
Version 3.2 ¦ © Salix 2021

## ECM 2
Wales Funding Programme - Part 2
ECM 2 details
Name of Project:
Project Details
• Please provide a description of the project works • Include all possible resulting benefits from the project
Total Salix Loan Value
Project Type
Work Type | [9 empty] | #N/A | 1
Floor area (m2) impacted by measure
Site Life (In Years)
Fuel type | Annual Pre-project kWh | Annual Post-project kWh | Current Energy Cost (p/kWh) | Forecast Energy Cost (p/kWh) | Forecast % Change | Annual kWh saving | % kWh savings | Annual tCO2e savings | Annual Energy Cost savings |  |  | %kWh Overall | tCO2e lt
[6 empty] | 0 | 0% | 0 | 0 | 8 |  | 0% | 0
[6 empty] | 0 | 0% | 0 | 0 | 8
Project Lifetime (PF) | 0 |  | Details of Forecast Energy Cost • Describe how you have forecasted for future energy costs | [6 empty] | PF | #N/A
Predicted Annual Carbon Savings (tCO2e) | 0
Total annual financial savings (£) | 0
Payback period | 0
Lifetime Cost of Carbon | 0
Details of Project Energy Savings Calculations
Please explain how the programme costs, energy and Carbon(e) savings, and lifetime cost of Carbon(e) have been derived, detailing any assumptions
Project cost breakdown
Main equipment capital costs (£)
Installation costs (£)
Project management costs (£)
Other project costs (£)
Total projects costs | 0
Other sources of funding
If other sources of funding are being accessed, please provide further details
Operating and maintenance costs (£)
Estimated Start Date
Estimated Completion Date
Details of Supporting Documentation
Evidence of costs included (Attached or embed quotations, tender, consultant's estimates etc.)
Version 3.2 ¦ © Salix 2021

## ECM 3
Wales Funding Programme - Part 2
ECM 3 details
Name of Project:
Project Details
• Please provide a description of the project works • Include all possible resulting benefits from the project
Total Salix Loan Value
Project Type
Work Type | [9 empty] | #N/A | 1
Floor area (m2) impacted by measure
Site Life (In Years)
Fuel type | Annual Pre-project kWh | Annual Post-project kWh | Current Energy Cost (p/kWh) | Forecast Energy Cost (p/kWh) | Forecast % Change | Annual kWh saving | % kWh savings | Annual tCO2e savings | Annual Energy Cost savings |  |  | %kWh Overall | tCO2e lt
[6 empty] | 0 | 0% | 0 | 0 | 8 |  | 0% | 0
[6 empty] | 0 | 0% | 0 | 0 | 8
Project Lifetime (PF) | 0 |  | Details of Forecast Energy Cost • Describe how you have forecasted for future energy costs | [6 empty] | PF | #N/A
Predicted Annual Carbon Savings (tCO2e) | 0
Total annual financial savings (£) | 0
Payback period | 0
Lifetime Cost of Carbon | 0
Details of Project Energy Savings Calculations
Please explain how the programme costs, energy and Carbon(e) savings, and lifetime cost of Carbon(e) have been derived, detailing any assumptions
Project cost breakdown
Main equipment capital costs (£)
Installation costs (£)
Project management costs (£)
Other project costs (£)
Total projects costs | 0
Other sources of funding
If other sources of funding are being accessed, please provide further details
Operating and maintenance costs (£)
Estimated Start Date
Estimated Completion Date
Details of Supporting Documentation
Evidence of costs included (Attached or embed quotations, tender, consultant's estimates etc.)
Version 3.2 ¦ © Salix 2021

## ECM 4
Wales Funding Programme - Part 2
ECM 4 details
Name of Project:
Project Details
• Please provide a description of the project works • Include all possible resulting benefits from the project
Total Salix Loan Value
Project Type
Work Type | [9 empty] | #N/A | 1
Floor area (m2) impacted by measure
Site Life (In Years)
Fuel type | Annual Pre-project kWh | Annual Post-project kWh | Current Energy Cost (p/kWh) | Forecast Energy Cost (p/kWh) | Forecast % Change | Annual kWh saving | % kWh savings | Annual tCO2e savings | Annual Energy Cost savings |  |  | %kWh Overall | tCO2e lt
[6 empty] | 0 | 0% | 0 | 0 | 8 |  | 0% | 0
[6 empty] | 0 | 0% | 0 | 0 | 8
Project Lifetime (PF) | 0 |  | Details of Forecast Energy Cost • Describe how you have forecasted for future energy costs | [6 empty] | PF | #N/A
Predicted Annual Carbon Savings (tCO2e) | 0
Total annual financial savings (£) | 0
Payback period | 0
Lifetime Cost of Carbon | 0
Details of Project Energy Savings Calculations
Please explain how the programme costs, energy and Carbon(e) savings, and lifetime cost of Carbon(e) have been derived, detailing any assumptions
Project cost breakdown
Main equipment capital costs (£)
Installation costs (£)
Project management costs (£)
Other project costs (£)
Total projects costs | 0
Other sources of funding
If other sources of funding are being accessed, please provide further details
Operating and maintenance costs (£)
Estimated Start Date
Estimated Completion Date
Details of Supporting Documentation
Evidence of costs included (Attached or embed quotations, tender, consultant's estimates etc.)
Version 3.2 ¦ © Salix 2021

## ECM 5
Wales Funding Programme - Part 2
ECM 5 details
Name of Project:
Project Details
• Please provide a description of the project works • Include all possible resulting benefits from the project
Total Salix Loan Value | [5 empty] | `
Project Type
Work Type | [9 empty] | #N/A | 1
Floor area (m2) impacted by measure
Site Life (In Years)
Fuel type | Annual Pre-project kWh | Annual Post-project kWh | Current Energy Cost (p/kWh) | Forecast Energy Cost (p/kWh) | Forecast % Change | Annual kWh saving | % kWh savings | Annual tCO2e savings | Annual Energy Cost savings |  |  | %kWh Overall | tCO2e lt
[6 empty] | 0 | 0% | 0 | 0 | 8 |  | 0% | 0
[6 empty] | 0 | 0% | 0 | 0 | 8
Project Lifetime (PF) | 0 |  | Details of Forecast Energy Cost • Describe how you have forecasted for future energy costs | [6 empty] | PF | #N/A
Predicted Annual Carbon Savings (tCO2e) | 0
Total annual financial savings (£) | 0
Payback period | 0
Lifetime Cost of Carbon | 0
Details of Project Energy Savings Calculations
Please explain how the programme costs, energy and Carbon(e) savings, and lifetime cost of Carbon(e) have been derived, detailing any assumptions
Project cost breakdown
Main equipment capital costs (£)
Installation costs (£)
Project management costs (£)
Other project costs (£)
Total projects costs | 0
Other sources of funding
If other sources of funding are being accessed, please provide further details
Operating and maintenance costs (£)
Estimated Start Date
Estimated Completion Date
Details of Supporting Documentation
Evidence of costs included (Attached or embed quotations, tender, consultant's estimates etc.)
Version 3.2 ¦ © Salix 2021

## ECM 6
Wales Funding Programme - Part 2
ECM 6 details
Name of Project:
Project Details
• Please provide a description of the project works • Include all possible resulting benefits from the project
Total Salix Loan Value
Project Type
Work Type | [9 empty] | #N/A | 1
Floor area (m2) impacted by measure
Site Life (In Years)
Fuel type | Annual Pre-project kWh | Annual Post-project kWh | Current Energy Cost (p/kWh) | Forecast Energy Cost (p/kWh) | Forecast % Change | Annual kWh saving | % kWh savings | Annual tCO2e savings | Annual Energy Cost savings |  |  | %kWh Overall | tCO2e lt
[6 empty] | 0 | 0% | 0 | 0 | 8 |  | 0% | 0
[6 empty] | 0 | 0% | 0 | 0 | 8
Project Lifetime (PF) | 0 |  | Details of Forecast Energy Cost • Describe how you have forecasted for future energy costs | [6 empty] | PF | #N/A
Predicted Annual Carbon Savings (tCO2e) | 0
Total annual financial savings (£) | 0
Payback period | 0
Lifetime Cost of Carbon | 0
Details of Project Energy Savings Calculations
Please explain how the programme costs, energy and Carbon(e) savings, and lifetime cost of Carbon(e) have been derived, detailing any assumptions
Project cost breakdown
Main equipment capital costs (£)
Installation costs (£)
Project management costs (£)
Other project costs (£)
Total projects costs | 0
Other sources of funding
If other sources of funding are being accessed, please provide further details
Operating and maintenance costs (£)
Estimated Start Date
Estimated Completion Date
Details of Supporting Documentation
Evidence of costs included (Attached or embed quotations, tender, consultant's estimates etc.)
Version 3.2 ¦ © Salix 2021

## ECM 7
Wales Funding Programme - Part 2
ECM 7 details
Name of Project:
Project Details
• Please provide a description of the project works • Include all possible resulting benefits from the project
Total Salix Loan Value
Project Type
Work Type | [9 empty] | #N/A | 1
Floor area (m2) impacted by measure
Site Life (In Years)
Fuel type | Annual Pre-project kWh | Annual Post-project kWh | Current Energy Cost (p/kWh) | Forecast Energy Cost (p/kWh) | Forecast % Change | Annual kWh saving | % kWh savings | Annual tCO2e savings | Annual Energy Cost savings |  |  | %kWh Overall | tCO2e lt
[6 empty] | 0 | 0% | 0 | 0 | 8 |  | 0% | 0
[6 empty] | 0 | 0% | 0 | 0 | 8
Project Lifetime (PF) | 0 |  | Details of Forecast Energy Cost • Describe how you have forecasted for future energy costs | [6 empty] | PF | #N/A
Predicted Annual Carbon Savings (tCO2e) | 0
Total annual financial savings (£) | 0
Payback period | 0
Lifetime Cost of Carbon | 0
Details of Project Energy Savings Calculations
Please explain how the programme costs, energy and Carbon(e) savings, and lifetime cost of Carbon(e) have been derived, detailing any assumptions
Project cost breakdown
Main equipment capital costs (£)
Installation costs (£)
Project management costs (£)
Other project costs (£)
Total projects costs | 0
Other sources of funding
If other sources of funding are being accessed, please provide further details
Operating and maintenance costs (£)
Estimated Start Date
Estimated Completion Date
Details of Supporting Documentation
Evidence of costs included (Attached or embed quotations, tender, consultant's estimates etc.)
Version 3.2 ¦ © Salix 2021

## ECM 8
Wales Funding Programme - Part 2
ECM 8 details
Name of Project:
Project Details
• Please provide a description of the project works • Include all possible resulting benefits from the project
Total Salix Loan Value
Project Type
Work Type | [9 empty] | #N/A | 1
Floor area (m2) impacted by measure
Site Life (In Years)
Fuel type | Annual Pre-project kWh | Annual Post-project kWh | Current Energy Cost (p/kWh) | Forecast Energy Cost (p/kWh) | Forecast % Change | Annual kWh saving | % kWh savings | Annual tCO2e savings | Annual Energy Cost savings |  |  | %kWh Overall | tCO2e lt
[6 empty] | 0 | 0% | 0 | 0 | 8 |  | 0% | 0
[6 empty] | 0 | 0% | 0 | 0 | 8
Project Lifetime (PF) | 0 |  | Details of Forecast Energy Cost • Describe how you have forecasted for future energy costs | [6 empty] | PF | #N/A
Predicted Annual Carbon Savings (tCO2e) | 0
Total annual financial savings (£) | 0
Payback period | 0
Lifetime Cost of Carbon | 0
Details of Project Energy Savings Calculations
Please explain how the programme costs, energy and Carbon(e) savings, and lifetime cost of Carbon(e) have been derived, detailing any assumptions
Project cost breakdown
Main equipment capital costs (£)
Installation costs (£)
Project management costs (£)
Other project costs (£)
Total projects costs | 0
Other sources of funding
If other sources of funding are being accessed, please provide further details
Operating and maintenance costs (£)
Estimated Start Date
Estimated Completion Date
Details of Supporting Documentation
Evidence of costs included (Attached or embed quotations, tender, consultant's estimates etc.)
Version 3.2 ¦ © Salix 2021

## ECM 9
Wales Funding Programme - Part 2
ECM 9 details
Name of Project:
Project Details
• Please provide a description of the project works • Include all possible resulting benefits from the project
Total Salix Loan Value
Project Type
Work Type | [9 empty] | #N/A | 1
Floor area (m2) impacted by measure
Site Life (In Years)
Fuel type | Annual Pre-project kWh | Annual Post-project kWh | Current Energy Cost (p/kWh) | Forecast Energy Cost (p/kWh) | Forecast % Change | Annual kWh saving | % kWh savings | Annual tCO2e savings | Annual Energy Cost savings |  |  | %kWh Overall | tCO2e lt
[6 empty] | 0 | 0% | 0 | 0 | 8 |  | 0% | 0
[6 empty] | 0 | 0% | 0 | 0 | 8
Project Lifetime (PF) | 0 |  | Details of Forecast Energy Cost • Describe how you have forecasted for future energy costs | [6 empty] | PF | #N/A
Predicted Annual Carbon Savings (tCO2e) | 0
Total annual financial savings (£) | 0
Payback period | 0
Lifetime Cost of Carbon | 0
Details of Project Energy Savings Calculations
Please explain how the programme costs, energy and Carbon(e) savings, and lifetime cost of Carbon(e) have been derived, detailing any assumptions
Project cost breakdown
Main equipment capital costs (£)
Installation costs (£)
Project management costs (£)
Other project costs (£)
Total projects costs | 0
Other sources of funding
If other sources of funding are being accessed, please provide further details
Operating and maintenance costs (£)
Estimated Start Date
Estimated Completion Date
Details of Supporting Documentation
Evidence of costs included (Attached or embed quotations, tender, consultant's estimates etc.)
Version 3.2 ¦ © Salix 2021

## ECM 10
Wales Funding Programme - Part 2
ECM 10 details
Name of Project:
Project Details
• Please provide a description of the project works • Include all possible resulting benefits from the project
Total Salix Loan Value
Project Type
Work Type | [9 empty] | #N/A | 1
Floor area (m2) impacted by measure
Site Life (In Years)
Fuel type | Annual Pre-project kWh | Annual Post-project kWh | Current Energy Cost (p/kWh) | Forecast Energy Cost (p/kWh) | Forecast % Change | Annual kWh saving | % kWh savings | Annual tCO2e savings | Annual Energy Cost savings |  |  | %kWh Overall | tCO2e lt
[6 empty] | 0 | 0% | 0 | 0 | 8 |  | 0% | 0
[6 empty] | 0 | 0% | 0 | 0 | 8
Project Lifetime (PF) | 0 |  | Details of Forecast Energy Cost • Describe how you have forecasted for future energy costs | [6 empty] | PF | #N/A
Predicted Annual Carbon Savings (tCO2e) | 0
Total annual financial savings (£) | 0
Payback period | 0
Lifetime Cost of Carbon | 0
Details of Project Energy Savings Calculations
Please explain how the programme costs, energy and Carbon(e) savings, and lifetime cost of Carbon(e) have been derived, detailing any assumptions
Project cost breakdown
Main equipment capital costs (£)
Installation costs (£)
Project management costs (£)
Other project costs (£)
Total projects costs | 0
Other sources of funding
If other sources of funding are being accessed, please provide further details
Operating and maintenance costs (£)
Estimated Start Date
Estimated Completion Date
Details of Supporting Documentation
Evidence of costs included (Attached or embed quotations, tender, consultant's estimates etc.)
Version 3.2 ¦ © Salix 2021

## Technology List & Con. Factors
Technology types |  |  | Conversion Factors
Project Type | Work Type | Current PF (Basic maintenance) | Energy Source | kg CO2/kWh | Notes |  |  |  | Project type | Work type REF | Emergency Services | Further Education Institution | Higher Education Institution | Local Authority | NHS | Primary School | Secondary School | Client Type Name List
Boilers | Boilers - burner management | 6.84 | Electricity | 0.25319 | 2020-07-22 | Scope 2 & Scope 3 (Transmission and Distribution losses only) |  | E | Boilers | Boilers | Canteen/Cafeteria | Campus Building | Campus Building | Canteen/Cafeteria | Ambulance station | Canteen/Cafeteria | Canteen/Cafeteria |  | Client type | Client-type list name | Client Type Selected | Client-type list name
| Boilers - burner replacement | 13.5 | Gas | 0.18387 | 2020-07-22 | Scope 1 only |  | G | Building management systems | BMS | Car Park | Canteen/Cafeteria | Canteen/Cafeteria | Car Park | Canteen/Cafeteria | Car Park | Car Park |  | Emergency Services | Emergency_Services | 0
| Boilers - control systems | 6.84 | Gas oil | 0.25672 | 2020-07-22 | Scope 1 only |  | GO | Combined heat & power | CHP | Corridor | Car park | Car park | Community Centre | Car Park | Classroom | Classroom |  | Further Education Institution | Further_Education_Institution
| Boilers - replacement combination | 7.22 | Fuel oil | 0.26775 | 2020-07-22 | Scope 1 only | Heating oils other than gas oil or burning oil | FO | Compressor | Compressor | Data Centre/ IT Facilities | Classroom | Classroom | Council Office | Clinical space | Corridor | Corridor |  | Higher Education Institution | Higher_Education_Institution
| Boilers - replacement condensing | 14.44 | Burning oil | 0.24666 | 2020-07-22 | Scope 1 only | Also known as kerosene or paraffin used for heating systems | BO | Computers & IT solutions | IT | Fire Rescue Station | Corridor | Corridor | Gallery/Museum | Corridors | Library | Library |  | Local Authority | Local_Authority
| Boilers - replacement modular | 10.83 | Coal | 0.3204 | 2020-07-22 | Scope 1 only |  | C | Cooling | Cooling | Offices | Data Centre/ IT Facilities | Data Centre/ IT Facilities | Leisure Centre | Laboratory | Offices | Offices |  | NHS | NHS
| Boilers - retrofit economiser | 10.83 | LPG | 0.21448 | 2020-07-22 | Scope 1 only |  | L | Energy from waste | EfW | Other | Halls of Residence | Halls of Residence | Library | Non-clinical space | Other | Other |  | Primary School | Primary_School
Building management systems | BEMS - bureau remotely managed | 9 | Wood pellets | 0.03744 | 2020-07-22 | Scope 1 only |  | WP | Hand Dryers | Hand_Dryers | Plant room | Laboratory | Laboratory | Other | Other | Outdoor Sport Facilities | Outdoor Sport Facilities |  | Secondary School | Secondary_School
| BEMS - not remotely managed | 6.84 | Wood chips | 0.00792 | 2020-07-22 | Scope 1 only |  | WC | Heating | Heating | Police Station | Lecture Room | Lecture Room | Outdoor Sport Facilities | Plant room | Plant room | Plant room
| BEMS - remotely managed | 8.4209 | Biogas | 0.02405 | 2020-07-22 | Scope 1 only |  | BG | Hot water | Hot_water | Renewables Site | Library | Library | Parish/ Town Council | Renewables Site | Renewables Site | Renewables Site
Combined heat & power | Biomass CHP | 7.6 | Source: | BEIS: Current GHG conversion factors - updated July 2020 |  |  |  |  | Industrial kitchen equipment | Kitchen | Server Room | Offices | Offices | Plant room | Site Wide | Site Wide | Site Wide
| Gas Turbine | 11.4 | [6 empty] | Insulation - building fabric | Insulation_building_fabric | Site Wide | Other | Other | Renewables Site |  | Sports Hall | Sports Hall
| Gas, Diesel, gasoil engine CHP | 15.2 | [6 empty] | Insulation - draught proofing | Insulation_draught_proofing |  | Outdoor Sport Facilities | Outdoor Sport Facilities | Residential Care Home
| Private wire connection | 30 | [6 empty] | Insulation - other | Insulation_other |  | Plant room | Plant room | Streetlighting
Compressor | Compressed Air: air compressor upgrade | 14.44 | [6 empty] | Insulation - pipework | Insulation_pipework |  | Renewables Site | Renewables Site | Warehouse
Computers and IT solutions | CRT to LED monitors | 7.2 | [6 empty] | Lab Upgrades | Lab |  | Server Room | Server Room
| Energy Efficient File Storage Replacement | 9 | [6 empty] | LED lighting | LEDs |  | Site Wide | Site Wide
| Energy Efficient Server Replacement | 9 | [6 empty] | Lighting controls | Lighting_controls |  | Sports Hall | Sports Hall
| Evaporative cooling for ICT | 13.68 | [6 empty] | Motor controls | Motor_controls |  | Students Union | Students Union
| Free Cooling for ICT | 13.68 | [6 empty] | Motor replacement | Motor_replacement
| Hot aisle/cold aisle containment | 10.83 | [6 empty] | Office equipment | Office
| LED monitors instead of LCD (cost difference) | 7.2 | [6 empty] | Renewable energy | Renewables
| Multi Functional Devices | 4.5 | [6 empty] | Street lighting | Street_lighting
| Network PC power management | 4 | [6 empty] | Swimming | Swimming
| Thin client | 9 | [6 empty] | Time switches | Time_switches
| Uninterruptible Power Supplies | 18 | [6 empty] | Traffic lights | Traffic_lights
| Virtualisation | 9 | [6 empty] | Transformers | Transformers
Cooling | Cooling - control system | 6.84 | [6 empty] | Ventilation | Ventilation
| Cooling - plant replacement/upgrade | 8.208 | [6 empty] | Voltage management | Voltage_management
| Energy Efficient Chillers | 14.44
| Free cooling | 13.68
| Replacement of air conditioning with evaporative cooling | 13.68
Hand Dryers | Hand Dryers - replacement to more efficient type | 8.21
Energy from waste | Anaerobic digestion | 15.2
| Incineration | 15.2
Heating | Connect to existing district heating via plate HE | 28.5
| Direct electric heating to heat pump (air source) | 10.83
| Direct electric heating to heat pump (ground source) | 16.72
| Direct electric heating to heat pump (water source) | 16.72
| Heat recovery | 10.83
| Heating - direct fired system | 9.5
| Heating - discrete controls | 6.84
| Heating – distribution pipework improvements | 15.2
| Heating - TRVs | 6.84
| Heating - zone control valves | 11.88
| Oil to Gas - boiler fuel switching | 7.92
| Replace steam calorifier with plate heat exchanger | 28.5
| Steam trap replacements | 15.2
| Thermal Stores | 18
Hot water | Flow Restrictors | 14
| Hot Water - chlorine dioxide dosing and biocide treatment | 9.5
| Hot Water - distribution improvements | 18
| Hot Water - efficient taps | 11
| Hot Water - point of use heaters | 9.504
Industrial kitchen equipment | Steriliser to dishwasher replacement | 10.8
Insulation - building fabric | Cavity wall insulation | 30
| Double glazing with metal or plastic frames | 28
| Dry wall lining | 30
| Loft insulation | 27
| Floor Insulation - suspended timber floor | 27
| Floor Insulation - solid floor or other type | 30
| Roof insulation | 30
| Secondary glazing | 7.92
Insulation - draught proofing | Insulation - draught proofing | 29.25
Insulation - pipework | Heating pipework insulation (external) | 9
| Heating pipework insulation (internal) | 22.5
Insulation - other | Air Curtains - ambient | 11.4
| Air Curtains - heated | 10.83
| Automatic speed doors | 8.4534
| Automatic/revolving doors | 8.4534
| Draught Lobby (external) | 29.25
| Draught Lobby (internal) | 29.25
| Radiator reflective foil (external walls) | 8
Lab Upgrades | Diode pumped solid state lasers | 6.8
| Energy Efficient Drying Cabinets | 12.8
| Energy Efficient Freezers (-25°C) | 12.83
| Energy Efficient Freezers (-86°C) | 8.55
| Energy Efficient Fume Cupboards | 16.25
| Energy Efficient Growth Cabinets | 10.8
| Fume Cupboards - Auto Sash Closing + PIR | 6.84
| Fume Cupboards - VAV Controls + Inverter Drives | 10.26
| Heat Recovery on Extract System | 10.83
| Energy Efficient X-Ray Generator | 10
Lighting controls | Lighting - discrete controls | 8.892
| Lighting control system centralised | 10.26
LED lighting | LED - new fitting | 25
| LED - same fitting | 13
Street lighting | Fit centralised controls | 12.7162
| Non-illuminated bollards | 30
| Replace control gear | 12.72
| Replace luminaire incorporating electronic ballast | 15
| Replace luminaire with LED | 20
| Solar powered bollards | 10
Traffic lights | Replace with LED including new fitting | 20
| Replace with LED using same fitting | 10
Motor controls | Fixed speed motor controls | 11.4
| Motors - flat belt drives | 11.4
| Variable speed drives | 10.26
Motor replacement | Motors - high efficiency | 15
Office equipment | Office equipment improvements for non-ICT | 3
Renewable energy | Biomass boilers | 15.124
| Solar PV | 22.5
| Solar Thermal | 17.1
Swimming | Swimming pool covers - manual | 7.92
| Swimming pool covers - motorised | 8.4534
Time switches | Time switches | 6.84
Transformers | Low loss | 30
| Low loss (cost difference) | 30
| Low loss+voltage management | 30
| Low loss+voltage management(cost difference) | 30
| Transformer tapping change | 30
Ventilation | Fans - air handling unit | 23.75
| Fans - high efficiency | 14.25
| Phase change material | 23.75
| Ventilation - distribution | 30
| Ventilation - presence controls | 6.84
| Ultrasonic Humidifiers | 7.22
Voltage management | Voltage management - fixed ratio | 19
| Voltage management - variable ratio | 19
© Salix 2021

## Persistence Factor Model
Persistence Factor Model:
Persistence factors are the anticipated lifetime of an energy efficiency technology used to calculate lifetime savings. The persistence factor is used in the calculation of cost to save a tonne of CO2e over the lifetime of an application (£/tCO2eLT). The Persistence Factors for individual technologies employed by Salix are based on and are consistent with those derived by the Carbon Trust. In early 2009/10 the Carbon Trust undertook a review of the existing Persistence Factor Methodology. Following a consultation in early 2010, a revised model has now been adopted.

## Assessment Form
Wales Funding Programme - Assessment and Feedback
Assessment form for Salix/Atkins
Objectives:
Programme Title: | [5 empty] | This assessment's primary objective is to evaluate the business case (as provided by the applicant) in a structured manner, identifying strengths & weaknesses leading to a judgement as to whether the business case is technically sound and is likely to deliver the energy savings & payback period presented. If the business case is unsound or needs further consideration, the assessment should identify what further information is needed from the client.
Public Sector Body:
1. Technical Case
1.1 Project Description including any background material |  | Score 15 for Excellent, 11 for Good, 7 for Requires Improvement, 2 for Weak; 0 for Missing |  |  |  | Consider the project description provided in terms of clarity, completeness, asset lifetime, energy saving potential and other benefits. Consider the contextual information provided by the applicant in support of the project.
0%
1.2 Technical Feasibility |  | Score 15 for Excellent, 11 for Good, 7 for Requires Improvement, 2 for Weak; 0 for Missing |  |  |  | Consider the project's technical feasibility in terms of good evidence for delivering the expected energy savings from the information provided by the applicant. Take into account proven track record in technology installation and if applicant has previously used supplier successfully.
0%
1.3 Material provided on the technology, has the final product been chosen? |  | Score 15 for Excellent, 11 for Good, 7 for Requires Improvement, 2 for Weak; 0 for Missing |  |  |  | Consider the material provided to support the creditability of the supplier/contractor to deliver the project. Consider additional technical information provided in the business case e.g. supplier technology specifications.
0%
1.4 Energy/Carbon Savings Calculations |  | Score 25 for Excellent, 18 for Good, 13 for Satisfactory, anything less and project should fail and/or at least require further input from client |  |  |  | Consider whether the energy savings estimate is robust being based on realistic data, assumptions and estimations for the technology; i.e. consider methodology, consumption data, consumption patterns, interaction with other energy saving projects. Take into account if the applicant can demonstrate or reference energy savings from similar projects. Consider whether the project is likely to deliver benefits in addition to the cost & energy savings claimed; e.g. CRC, maintenance, reliability, safety, etc.
0%
1.5 Energy/Carbon Monitoring Plan |  | Score 10 for Excellent, 7 for Good, 4 for Requires Improvement, 2 for Weak; 0 for Missing |  |  |  | Consider the monitoring plan for assessing the energy savings made by the project; i.e. project specific metering, manual measurements etc.
0%
|  |  | Technical Case Score: | 0%
2. Financial case
2.1 Main Equipment Costs |  | Score 20 for Excellent, 14 for Good, 11 for Satisfactory, anything less and project should fail and/or at least require further input from client |  |  |  | Consider whether the project capital cost is clearly structured and complete, or if there are significant elements missing or unclear.
0%
2.2 Installation Cost |  | Score 10 for Excellent, 7 for Good, 4 for Requires Improvement, 2 for Weak; 0 for Missing |  |  |  | Considering whether any installation costs are clearly identified and appropriate.
0%
2.3 Other Project Costs |  | Score 5 for Excellent, 3 for Good, 1 for Weak; 0 for Missing |  |  |  | Are there any other project costs identified such as design or project management fees.
0%
2.4 Operating & Maintenance Cost |  | Score 5 for Excellent, 3 for Good, 1 for Weak; 0 for Missing |  |  |  | Ensure that any operating & maintenance costs are clearly identified, appropriate and realistic. If there are no significant ongoing maintenance or operating costs score highly. Are the Maintenance costs expected to increase or decrease?
0%
Comments on Project Costs (2.1-2.4):
2.5 Evidence of Firm Pricing or close budgets having been received |  | Score 15 for Excellent, 11 for Good, 8 for Satisfactory, anything less and project should fail and/or at least require further input from client |  |  |  | Consider the costing source information validity; i.e. single quotation, multiple quotations, cross referenced to similar projects etc.
0%
2.6 Project Cost Savings Calculations with particular reference to the fuel prices being considered |  | Score 15 for Excellent, 11 for Good, 8 for Satisfactory, anything less and project should fail and/or at least require further input from client |  |  |  | Consider how robust the cost saving calculations are by referring to the project energy saving estimation and unit energy costs. Take into account if the applicant can demonstrate or reference savings from similar projects
0%
2.7 Simple Payback Period Realistic / Is the payback period & cost of carbon in line with similar projects |  | Score 10 for Excellent, 7 for Good, 6 for Satisfactory, anything less and project should fail and/or at least require further input from client |  |  |  | Consider if the project payback period estimation is robust and complete.
0%
|  |  | Financial Case Score: | 0%
3. Project governance, risks, mitigation
3.1 Project Risks & Mitigations |  | Net score 0 for High risk; 8 for Medium risk; 15 for Low risk |  |  |  | Consider the project risk management and mitigation proposed; i.e. scheduling, shutdowns, contractor access, milestones to give overview of applicant's risk management assessment, cost overruns, time overruns, health & safety Considering negative consequences of project installation; are such impacts (if any) identified and considered. Considering any negative implications of installing or not installing the project (if any). Highlight any potential significant risks not specifically identified by the applicant.
0%
3.2 Project Implementation / Schedule - Timings included; for example key milestones for installation and commissioning |  | Score 15 for Excellent, 11 for Good, 7 for Requires Improvement, 2 for Weak; 0 for Missing |  |  |  | How do the timeframes compare to other similar projects? Are there any key consideration that may delay the project, such as PFI, board sign off? Is sufficient contingency evidenced to mitigate delays to key processes?
0%
3.3 Applicant/Contractors' previous experience capability |  | Score 10 for Excellent, 7 for Good, 4 for Requires Improvement, 2 for Weak; 0 for Missing |  |  |  | Has the applicant and/or contractor had previous experience of similar projects? Consider case studies or other supporting information provided.
0%
3.4 Is the project governance sufficient for the size and complexity of the work to be completed? |  | Score 10 for Excellent, 7 for Good, 4 for Requires Improvement, 2 for Weak; 0 for Missing
0%
|  |  | Governance, Risks, Mitigation Score: | 0%
|  |  | Total Score: | 0%
Score
[7 empty] | 1.1 | 0%
[7 empty] | 1.2 | 0%
[7 empty] | 1.3 | 0%
[7 empty] | 1.4 | 0%
[7 empty] | 1.5 | 0%
[7 empty] | 2.1 | 0%
[7 empty] | 2.2 | 0%
[7 empty] | 2.3 | 0%
[7 empty] | 2.4 | 0%
Number of months to commission? | [5 empty] | Is this timeframe feasible for the technologies included in the project? | 2.5 | 0%
[7 empty] | 2.6 | 0%
[7 empty] | 2.7 | 0%
Number of months contingency? | [5 empty] | If no contingency provided, what should there be? Is there likely to be slippage in the project milestones? | 3.1 | 0%
[7 empty] | 3.2 | 0%
[7 empty] | 3.3 | 0%
Board/councillors approval? | 0 |  |  |  |  | If not approved, when will approval be given? | 3.4 | 0%
Is procurement complete? | 0 |  |  |  |  | If not complete, then what is the process and timescale?
Assessor review and recommendations
Assessor Opinion - Consider this project for funding: |  | Assessor's confirmation of scoring outcome or over-ride if assessor has reservations over scoring. Normally a Not Sound outcome from the scoring will result in further information being required or a recommendation that the project is not taken any further. For pre-tender applications only, the 'Project can be supported with conditions' status can be combined with a Not Sound outcome. This where the assessor considers the business case criteria to be sufficiently supported at pre-tender, but where information such as (e.g. firm costings and timelines) may not be available until a tender has been completed to enable a score of >70%. |  |  |  | Assessor opinion concerning whether this business case should proceed, whether further information is needed, or whether the business case is clearly flawed. This will therefore act to confirm the numerical scoring outcome to be realistic, or over-riding the scoring outcome where the assessor has reservations (in their judgment), despite the score achieved.
Based on the overall score achieved, the business case for this project is: | Not Sound | At least 70% overall score and individual scores meet requirements = Sound Otherwise = Not Sound |  |  |  | Cumulative outcome of scoring assessments.
Assessor summary including improvement points:
Summary notes supporting the assessment recommendation including picking out good features of sound business cases. Add any additional notes, observations, reservations or comments regarding the business case which may not be covered elsewhere.
Conditions (if any further information required) for passing business case:
Summary notes for what needs to be done to make unsound business cases sound or any conditions that need to be met at a later stage of the application, upon passing the business case with conditions.
Disclaimer
This assessment is made on the information as provided by the applicant. Whilst reasonable steps have been taken to ensure that the information provided within this assessment is correct, Salix, the assessor, and the Government give no warranty and make no representation as to its accuracy and accept no liability for any errors or omissions.
To be completed by Salix/Atkins Assessor
Project reference
Time Allocated |  |  | hours
Assessor
QA
Approved by
Date
© Salix 2021

## Assessment Form (Pre-tender)
Salix Business Case Template - Assessment and Feedback
Assessment form for Salix/Atkins
Objectives:
Programme Title: | [5 empty] | This assessment's primary objective is to evaluate the business case (as provided by the applicant) in a structured manner, identifying strengths & weaknesses leading to a judgement as to whether the business case is technically sound and is likely to deliver the energy savings & payback period presented. If the business case is unsound or needs further consideration, the assessment should identify what further information is needed from the client.
Public Sector Body:
1. Technical case
Consider the project description provided in terms of clarity, completeness, asset lifetime, energy saving potential and other benefits. Consider the contextual information provided by the applicant in support of the project.
1.1 Project Description including any background material |  | Score 15 for Excellent, 11 for Good, 7 for Requires Improvement, 2 for Weak; 0 for Missing
0%
1.2 Technical Feasibility & Future Resilience |  | Score 15 for Excellent, 11 for Good, 7 for Requires Improvement, 2 for Weak; 0 for Missing |  |  |  | Consider the project's technical feasibility in terms of good evidence for delivering the expected energy savings from the information provided by the applicant. Take into account proven track record in technology installation and if applicant has previously used supplier successfully. In addition, for CHP, take into account the future resilience of the proposal in terms of carbon savings and grid resilience.
0%
1.3 Material provided on the technology, has the final product been chosen? |  | Score 15 for Excellent, 11 for Good, 7 for Requires Improvement, 2 for Weak; 0 for Missing |  |  |  | Consider the material provided to support the creditability of the supplier/contractor to deliver the project. Consider additional technical information provided in the business case e.g. supplier technology specifications.
0%
1.4 Energy/Carbon Savings Calculations |  | Score 25 for Excellent, 18 for Good, 13 for Satisfactory, anything less and project should fail and/or at least require further input from client |  |  |  | Consider whether the energy savings estimate is robust being based on realistic data, assumptions and estimations for the technology; i.e. consider methodology, consumption data, consumption patterns, interaction with other energy saving projects. Take into account if the applicant can demonstrate or reference energy savings from similar projects. Consider whether the project is likely to deliver benefits in addition to the cost & energy savings claimed; e.g. CRC, maintenance, reliability, safety, etc.
0%
1.5 Energy/Carbon Monitoring Plan |  | Score 10 for Excellent, 7 for Good, 4 for Requires Improvement, 2 for Weak; 0 for Missing |  |  |  | Consider the monitoring plan for assessing the energy savings made by the project; i.e. project specific metering, manual measurements etc.
0%
|  |  | Technical Case Score: | 0%
2. Financial case
2.1 Main Equipment Costs |  | Score 20 for Excellent, 14 for Good, 11 for Satisfactory, anything less and project should fail and/or at least require further input from client |  |  |  | Consider whether the project capital cost is clearly structured and complete, or if there are significant elements missing or unclear.
0%
2.2 Installation Cost |  | Score 10 for Excellent, 7 for Good, 4 for Requires Improvement, 2 for Weak; 0 for Missing |  |  |  | Considering whether any installation costs are clearly identified and appropriate.
0%
2.3 Other Project Costs |  | Score 5 for Excellent, 3 for Good, 1 for Weak; 0 for Missing |  |  |  | Are there any other project costs identified such as design or project management fees.
0%
2.4 Operating & Maintenance Cost |  | Score 5 for Excellent, 3 for Good, 1 for Weak; 0 for Missing |  |  |  | Ensure that any operating & maintenance costs are clearly identified, appropriate and realistic. If there are no significant ongoing maintenance or operating costs score highly. Are the Maintenance costs expected to increase or decrease?
0%
Comments on Project Costs (2.1-2.4):
2.5 Evidence of Firm Pricing or close budgets having been received |  | Score 15 for Excellent, 11 for Good, 8 for Satisfactory, anything less and project should fail and/or at least require further input from client |  |  |  | Consider the costing source information validity; i.e. single quotation, multiple quotations, cross referenced to similar projects etc.
0%
2.6 Project Cost Savings Calculations with particular reference to the fuel prices being considered |  | Score 15 for Excellent, 11 for Good, 8 for Satisfactory, anything less and project should fail and/or at least require further input from client |  |  |  | Consider how robust the cost saving calculations are by referring to the project energy saving estimation and unit energy costs. Take into account if the applicant can demonstrate or reference savings from similar projects
0%
2.7 Simple Payback Period Realistic / Is the payback period & cost of carbon in line with similar projects |  | Score 10 for Excellent, 7 for Good, 6 for Satisfactory, anything less and project should fail and/or at least require further input from client |  |  |  | Consider if the project payback period estimation is robust and complete.
0%
|  |  | Financial Case Score: | 0%
3. Project governance, risks, mitigation
3.1 Project Risks & Mitigations |  | Net score 0 for High risk; 8 for Medium risk; 15 for Low risk |  |  |  | Consider the project risk management and mitigation proposed; i.e. scheduling, shutdowns, contractor access, milestones to give overview of applicant's risk management assessment, cost overruns, time overruns, health & safety Considering negative consequences of project installation; are such impacts (if any) identified and considered. Considering any negative implications of installing or not installing the project (if any). Highlight any potential significant risks not specifically identified by the applicant.
0%
3.2 Project Implementation / Schedule - Timings included; for example key milestones for installation and commissioning |  | Score 15 for Excellent, 11 for Good, 7 for Requires Improvement, 2 for Weak; 0 for Missing |  |  |  | How do the timeframes compare to other similar projects? Are there any key consideration that may delay the project, such as PFI, board sign off? Is sufficient contingency evidenced to mitigate delays to key processes?
0%
3.3 Applicant/Contractors' previous experience capability |  | Score 10 for Excellent, 7 for Good, 4 for Requires Improvement, 2 for Weak; 0 for Missing |  |  |  | Has the applicant and/or contractor had previous experience of similar projects? Consider case studies or other supporting information provided.
0%
3.4 Is the project governance sufficient for the size and complexity of the work to be completed? |  | Score 10 for Excellent, 7 for Good, 4 for Requires Improvement, 2 for Weak; 0 for Missing
0%
|  |  | Governance, Risks, Mitigation Score: | 0%
|  |  | Total Score: | 0%
Score
[7 empty] | 1.1 | 0%
[7 empty] | 1.2 | 0%
[7 empty] | 1.3 | 0%
[7 empty] | 1.4 | 0%
[7 empty] | 1.5 | 0%
[7 empty] | 2.1 | 0%
[7 empty] | 2.2 | 0%
[7 empty] | 2.3 | 0%
[7 empty] | 2.4 | 0%
Number of months to commission? | [5 empty] | Is this timeframe feasible for the technologies included in the project? | 2.5 | 0%
[7 empty] | 2.6 | 0%
[7 empty] | 2.7 | 0%
Number of months contingency? | [5 empty] | If no contingency provided, what should there be? Is there likely to be slippage in the project milestones? | 3.1 | 0%
[7 empty] | 3.2 | 0%
[7 empty] | 3.3 | 0%
Board/councillors approval? | 0 |  |  |  |  | If not approved, when will approval be given? | 3.4 | 0%
Is procurement complete? | 0 |  |  |  |  | If not complete, then what is the process and timescale?
Assessor review and recommendations
Assessor Opinion - Consider this project for funding: |  | Assessor's confirmation of scoring outcome or over-ride if assessor has reservations over scoring. Normally a Not Sound outcome from the scoring will result in further information being required or a recommendation that the project is not taken any further. For pre-tender applications only, the 'Project can be supported with conditions' status can be combined with a Not Sound outcome. This where the assessor considers the business case criteria to be sufficiently supported at pre-tender, but where information such as (e.g. firm costings and timelines) may not be available until a tender has been completed to enable a score of >70%. |  |  |  | Assessor opinion concerning whether this business case should proceed, whether further information is needed, or whether the business case is clearly flawed. This will therefore act to confirm the numerical scoring outcome to be realistic, or over-riding the scoring outcome where the assessor has reservations (in their judgment), despite the score achieved.
Based on the overall score achieved, the business case for this project is: | Not Sound | At least 70% overall score and individual scores meet requirements = Sound Otherwise = Not Sound |  |  |  | Cumulative outcome of scoring assessments.
Assessor summary including improvement points:
Summary notes supporting the assessment recommendation including picking out good features of sound business cases. Add any additional notes, observations, reservations or comments regarding the business case which may not be covered elsewhere.
Conditions (if any further information required) for passing business case:
Summary notes for what needs to be done to make unsound business cases sound or any conditions that need to be met at a later stage of the application, upon passing the business case with conditions.
Disclaimer
This assessment is made on the information as provided by the applicant. Whilst reasonable steps have been taken to ensure that the information provided within this assessment is correct, Salix, the assessor, and the Government give no warranty and make no representation as to its accuracy and accept no liability for any errors or omissions.
To be completed by Salix/Atkins Assessor
Project reference
Time Allocated |  |  | hours
Assessor
QA
Approved by
Date
© Salix 2021

## Technologies Under Review
Technologies Under Review
Work types listed below are currently under review, due to advancements of the technology Salix is seeing fewer applications including these work types, however if you do wish to include any of these as part of your Salix application please contact: technical@salixfinance.co.uk
Project Type | Work Type | Current PF (Basic maintenance)
Computers & IT solutions | CRT to flat screen LCD | 7.2
Lighting upgrades | Compact Fluorescent including changing the fitting | 20
| Compact Fluorescent using same fitting | 10
| Electronic ballast with dimming control | 11.4
| HP Sodium including new fitting | 20
| Induction Fluorescent including changing the fitting | 20
| Replace halogen with HID metal halide | 20
| T12/T8 to CCFL including new fitting | 20
| T12/T8 to CCFL using same fitting | 10
| T5 lighting including changing the fitting | 20
| T5 lighting retrofit using adaptors | 10
| T8 lighting including changing the fitting | 20
| T8 lighting retrofit using adaptors | 10
© Salix 2021

## Revision History
Date | Ver | Change | By
2020-08-01 | 4 | Updated carbon factors Technology list updated: ⦁ LED Lighting work types simplified to 'LED - new fitting' and 'LED - same fitting' ⦁ 'Retrofit Single Glazing' removed ⦁ Two Floor Insulation work types added | NH
2019-04-01 | 3.2 | Pre-Application checks', 'CHP' tab and 'Technologies Under Review' tab added Carbon factors and compliance criteria updated | NH
2019-01-16 | 3.1 | Added Work Types 'Energy Efficient X-Ray Generator'. | BL
2018-05-01 | 3 | Added Work Types 'CHP - Private Wire Connection', 'Direct electric heating to heat pump (water source)' and updated the ground source work types persistence factor. Removed Work Types: ⦁ Electric to Gas - heating using CHP ⦁ Electric to Gas - heating using condensing boilers ⦁ Electric to Gas - tumble driers Updated Carbon Conversion Factors Added in 'Forecast p/kWh' & Forecast % Change' fields | BH & BC
2018-03-01 | 2.2-2.3 | Added Work Type 'Hydropower' Extended application form to cover 12 projects. Backing sheet updated. | QA
2017-10-01 | 2.1 | Added Work Type 'Ultrasonic Humidifiers' and 'Direct electric heating to heat pump (ground source)' | BC
2017-08-01 | 2 | Updated Technology List Updated to BEIS latest CO2 factors | BH
2016-09-01 | 1.4 | Minor update to Project Details | BB
2016-08-01 | 1.3 | Minor update to Programme Details | BB
2016-07-01 | 1.2 | Minor update to Assessment form section 2.2 | BB
2016-06-01 | 1.1 | Minor update to Persistence factor oil to gas fuel switching | BB
2016-06-01 | 1 | Live version | MC
2016-05-01 | 0 | Application form created | BB/MC

## Backing sheet (hidden)
PET entry details
Application Code | Programme | Client name | Client Code | Project Reference | Start Date | Completion Date | Site | Site Life | Project Title / Description | Total Project Value | Salix Funding Requested | Salix % contribution of total project cost | Energy Type | Energy Cost (p/kWh) | Forecast Energy Cost (p/kWh) | Forecast % Change | Project Type | Work Type | Annual kWh Pre-Project | Annual kWh Post-Project | Annual kWh Saving | % kWh savings | Annual Financial Savings | Payback Period | kg/kWh | tCO2e pa | PF | tCO2e LT Savings | £/tCO2e LT | Lifetime Financial saving (£) | Compliancy
| 0 | 0 |  |  | 0 | 0 | N/A | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | Non-Compliant
Work type detail
Project number | Project code | Measure Reference: | Energy type | p/kWh | Forecast Energy Cost (p/kWh) | Forecast % Change | Project type | Work type | Annual kWhrs Pre-Project | Annual kWhrs Post-Project | Annual kWh savings | % kWh saving | PF | Annual Financial Saving | tCO2e pa | tCO2e LT | LT Financial | Measure cost |  | Number | Energy type
ECM 1 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | #N/A
ECM 1 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 | #N/A
ECM 2 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 3 | #N/A
ECM 2 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 4 | #N/A
ECM 3 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 5 | #N/A
ECM 3 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 6 | #N/A
ECM 4 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 7 | #N/A
ECM 4 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 8 | #N/A
ECM 5 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 9 | #N/A
ECM 5 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 10 | #N/A
ECM 6 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 11 | #N/A
ECM 6 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 12 | #N/A
ECM 7 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 13 | #N/A
ECM 7 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 14 | #N/A
ECM 8 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 15 | #N/A
ECM 8 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 16 | #N/A
ECM 9 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 17 | #N/A
ECM 9 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 18 | #N/A
ECM 10 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 19 | #N/A
ECM 10 | 0 | #N/A | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 20 | #N/A
[13 empty] | Totals | 0 | 0 | 0 | 0 | 0
Project Ref | Organisation: | Business Case Reference | Programme | Loan Value | Project Type | Work Type | Atkins Assessor | Atkins QA | Days in assessment | No. of Days Contingency | 1.1 Project Description including any background material /15 | 1.2 Technical Feasibility /15 | 1.3 Material provided on the technology, has the final product been chosen? /15 | 1.4 Energy/Carbon Savings Calculations /25 | 1.5 Energy/Carbon Monitoring Plan /10 | 1.1 Project Description including any background material % | 1.2 Technical Feasibility % | 1.3 Material provided on the technology, has the final product been chosen? % | 1.4 Energy/Carbon Savings Calculations % | 1.5 Energy/Carbon Monitoring Plan % | Technical Case Score: | 2.1 Main Equipment Costs /20 | 2.2 Installation Cost /10 | 2.3 Other Project Costs /5 | 2.4 Operating & Maintenance Cost /5 | 2.5 Evidence of Firm Pricing or close budgets having been received /15 | 2.6 Project Cost Savings Calculations with particular reference to the fuel prices being considered /15 | 2.7 Simple Payback Period Realistic / Is the payback period & cost of carbon in line with similar projects /10 | 2.1 Main Equipment Costs % | 2.2 Installation Cost % | 2.3 Other Project Costs % | 2.4 Operating & Maintenance Cost % | 2.5 Evidence of Firm Pricing or close budgets having been received % | 2.6 Project Cost Savings Calculations with particular reference to the fuel prices being considered % | 2.7 Simple Payback Period Realistic / Is the payback period & cost of carbon in line with similar projects % | Financial Case Score: | 3.1 Project Risks & Mitigations /15 | 3.2 Project Implementation / Schedule - Timings included; for example key milestones for installation and commissioning /15 | 3.3 Applicant/Contractors' previous experience capability /10 | 3.4 Is the project governance sufficient for the size and complexity of the work to be completed? /10 | 3.1 Project Risks & Mitigations % | 3.2 Project Implementation / Schedule - Timings included; for example key milestones for installation and commissioning % | 3.3 Applicant/Contractors' previous experience capability % | 3.4 Is the project governance sufficient for the size and complexity of the work to be completed? % | Governance, Risks, Mitigation Score: | Total
0 | 0 | 0 | SEELS Wales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | 0% | 0%
Project Ref | Organisation: | Business Case Reference | Programme | Loan Value | Project Type | Work Type | Atkins Assessor | Atkins QA | Days in assessment | No. of Days Contingency | 1.1 Project Description including any background material /15 | 1.2 Technical Feasibility /15 | 1.3 Material provided on the technology, has the final product been chosen? /15 | 1.4 Energy/Carbon Savings Calculations /25 | 1.5 Energy/Carbon Monitoring Plan /10 | 1.1 Project Description including any background material % | 1.2 Technical Feasibility % | 1.3 Material provided on the technology, has the final product been chosen? % | 1.4 Energy/Carbon Savings Calculations % | 1.5 Energy/Carbon Monitoring Plan % | Technical Case Score: | 2.1 Main Equipment Costs /20 | 2.2 Installation Cost /10 | 2.3 Other Project Costs /5 | 2.4 Operating & Maintenance Cost /5 | 2.5 Evidence of Firm Pricing or close budgets having been received /15 | 2.6 Project Cost Savings Calculations with particular reference to the fuel prices being considered /15 | 2.7 Simple Payback Period Realistic / Is the payback period & cost of carbon in line with similar projects /10 | 2.1 Main Equipment Costs % | 2.2 Installation Cost % | 2.3 Other Project Costs % | 2.4 Operating & Maintenance Cost % | 2.5 Evidence of Firm Pricing or close budgets having been received % | 2.6 Project Cost Savings Calculations with particular reference to the fuel prices being considered % | 2.7 Simple Payback Period Realistic / Is the payback period & cost of carbon in line with similar projects % | Financial Case Score: | 3.1 Project Risks & Mitigations /15 | 3.2 Project Implementation / Schedule - Timings included; for example key milestones for installation and commissioning /15 | 3.3 Applicant/Contractors' previous experience capability /10 | 3.4 Is the project governance sufficient for the size and complexity of the work to be completed? /10 | 3.1 Project Risks & Mitigations % | 3.2 Project Implementation / Schedule - Timings included; for example key milestones for installation and commissioning % | 3.3 Applicant/Contractors' previous experience capability % | 3.4 Is the project governance sufficient for the size and complexity of the work to be completed? % | Governance, Risks, Mitigation Score: | Total
0 | 0 | 0 | SEELS Wales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | 0% | 0%

## Compliancy (hidden)
| PB | £/tCO2e |  | Client type | Client-type list name | Client Type Selected | Client-type list name
Recycling Fund HEI | 8 | 306 |  | Emergency Services | Emergency_Services | Client Type:
Recycling Fund England | 10 | 383 |  | Further Education Institution | Further_Education_Institution
Recycling Fund Scotland | 8 | 278 |  | Higher Education Institution | Higher_Education_Institution
Recycling Fund Wales | 8 | 278 |  | Local Authority | Local_Authority
SEELS England | 1000 | 191 |  | NHS | NHS
SEELS Scotland | 8 | 278 |  | Primary School | Primary_School
SEELS Wales | 8 | 278 |  | Secondary School | Secondary_School
SEELS Schools | 8 | 241
Overall project | 0 | 0
Criteria | Select Programme | Select Programme
Compliancy | Compliant | Compliant | Select Programme